GROUNDWATER ELEVATION MONITORING PLAN TEMPLATE

The following is a sample for use in developing a facility’s groundwater elevation monitoring plan (GWEMP) and may be used in combination with the Commission’s GWEMP Guidance: Policy 2020-02.  The sample language provided below (in italics) is intended to provide an indication of the level of detail that should be included in the plan and should be used only as a guide.  The sample language highlighted in grey should be modified or deleted as appropriate.  All underlined instruction should be deleted from final plan.  The project sponsor may need to provide more or less detail, as appropriate, to adequately describe the equipment and methods implemented to measure, record, and report water level data for the facility. Additional information may be requested during review of the plan. Please delete this paragraph from the final plan.

GROUNDWATER ELEVATION MONITORING PLAN

Project Sponsor

Facility Name

Municipality, County, State

Date

Insert general description of the facility, facility sources, and monitoring equipment types - Example:  Facility name operates groundwater wells Well 1, Well  2 , and Well 3 which are the sources for all water used at the facility.  Groundwater levels will be measured in each production well using vented data loggers, air lines, etc., which are described in the following table.

Use the table below to provide groundwater monitoring equipment specifications – Expand or delete source rows, as necessary.

GROUNDWATER MONITORING EQUIPMENT -

| Source | Reference Elevation Location | Reference Elevation (ft AMSL) | Monitoring Equipment Information |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Make / Model | Serial Number | Accuracy (%) |
| Well 1 | Top of Casing | 1180.36 | In-Situ Level Troll 500 | 455154 | 0.1 |
| Well 2 |  |  |  |  |  |
| Well 3 |  |  |  |  |  |

Monitoring Procedures and Record Keeping

Indicate the frequency at which water level data will be collected and a brief description for reading and recording water level measurements from all groundwater monitoring locations – Example:  Each data logger will be programmed to record depth to water levels on an hourly basis or manually collected once daily at approximately 8:00 am during routine facility inspection. The facility manager will manually download the water level data from the data loggers monthly and will upload the data to an electronic spreadsheet. Groundwater levels for the withdrawals will be converted to elevations by subtracting the depth to water measurements from the top of casing elevations at each wellhead (reference point for calculation), which were obtained by professional survey.  The lowest daily groundwater elevations will be reported quarterly to the Commission.

Insert a brief description of the methods for maintaining an accurate record of groundwater elevation data – Example: To ensure accurate operation of the data loggers, the water level measurements recorded by the data loggers will be manually verified every quarter using a water level meter.  If discrepancies are noted, the data logger will be recalibrated or replaced with a new data logger.  Manual water level measurements will be collected as needed until the data logger is replaced.  The Commission will be informed of any data discrepancies, changes in equipment, and the GWEMP will be updated to provide the new make, model, serial number, and photographs of installed equipment).

Attachments

Please provide photographs of installed equipment, accuracy calibration reports, and/or the manufacturer’s specification sheet for existing and/or new water level monitoring equipment.  List attachments – numbers should be ascending within the GWEMP – if not applicable or available, delete attachments

Attachment 1: Water Level Monitoring Equipment Photographs – Installed equipment does not need to be removed for a photo. A photo of a cable or air line entering the well head with the download connection is sufficient.

Attachment 2: Water Level Monitoring Equipment Accuracy Certifications - Usually provided at purchase. Regular, periodic calibration is not required.

Attachment 3: Water Level Monitoring Equipment Manufacturer Specification Sheet

Attachment 1:  Water Level Monitoring Equipment Photographs

[Insert photo of installed Water Level Monitoring Equipment here]

Well 1:  Water Level Monitoring Equipment

Attachment 2: Water Level Monitoring Equipment Accuracy Certification

[Insert copy of Water Level

Monitoring Equipment Accuracy

Certification here]

Well 1:  Water Level Monitoring Equipment Accuracy Certification

Attachment 3: Water Level Monitoring Equipment Manufacturer Specification

[Insert copy of Water Level

Monitoring Equipment Accuracy

Certification here]

Well 1:  Water Level Monitoring Equipment Manufacturer Specification Sheet